Date: 10/09/2025

Tender Notice for Supply, Installation & Commissioning of Equipment for AICTE IDEA Lab at

Sri Shakthi Institute of Engineering and Technology, Coimbatore

Ref. No: SIET / AICTE-IDEA Lab / 2025-26 / 1

The following Terms and Conditions apply to all bidders participating in the tender for the supply, installation, and commissioning of equipment, tools, and machines for the establishment of SIET- AICTE IDEA Lab. All prospective vendors are required to read and comply with these terms in their entirety.

All equipment and materials must be delivered in the quantities and specifications mentioned in the purchase order issued by the purchaser. The delivery location will be specified in the purchase order. The entire contract shall remain valid for a period of three (3) months. Quotations submitted by bidders must remain valid for a minimum of 90 days from the final date of submission. Any quotation that does not meet with this validity period will be considered non- compliant.

- Instructions to Bidders

Bids must be submitted in two sealed envelopes (Technical & Financial), super-scribed with Tender Ref. No., due date, and bidder’s name. All quotations must be printed on the bidder's official letterhead and duly signed by an authorized representative.

  - Bidders must be registered with valid PAN and GST and should produce copies along with details highlighting their experience and key competencies.

  - The tender shall be conducted under a Two-Bid System: Technical & Financial Bid.

  - The tender documents can be downloaded from the institution's website: https://kct.ac.in/.

  - Bidders must not be blacklisted or under investigation by any government authority.

  - OEM authorization is mandatory where applicable.

  - All documents must be signed and stamped by the authorized signatory.

  - Incomplete or conditional bids will be rejected.

  - Bids must be submitted before the deadline specified in the tender notice.

  - All items must be delivered, installed, and commissioned within 60 days from Purchase Order (PO) date.

  - Partial deliveries may be accepted only with prior written approval from the signatory.

  - Failure to meet the delivery schedule may lead to penalties or cancellation of order.

  - Any faults during the warranty period must be rectified and replaced if required by the supplier at no additional cost.

  - Must provide Genuine Manufacturer Authorization Form (MAF), which will be subject to verification with the respective OEM.

  - Bidders must provide details of service support and escalation matrix.

  - All disputes shall be subject to arbitration in accordance with the Arbitration and Conciliation Act, 1996. Jurisdiction: Coimbatore Courts only.

  - The contract shall be governed by the General Financial Rules (GFR) 2017 (including latest amendments) and the terms set forth in this document.

  - Any other documents in support of technical eligibility can be added.

  - The bidder must furnish complete technical documentation for each quoted item. This includes detailed product specifications, installation manuals, operation and maintenance manuals.

  - The bidder is also required to submit a layout/design proposal aligned with the lab setup requirements, highlighting compliance points against the tender specifications.

  - Original technical brochures or scanned versions of product catalogues should be submitted with the bid. Wherever available, URLs to the OEM’s official product page should also be provided for cross- verification.

  - Each bidder must clearly mention the make, model, and complete technical specifications for the equipment being offered. A compliance sheet responding to each technical requirement outlined in the tender must be prepared and duly signed.

  - Bidders must demonstrate relevant experience by submitting a minimum of three Purchase Orders (executed within the last three years) for similar equipment supplied to academic, R&D, or industrial institutions, with each order value not less than ₹10 lakhs. At least five institutional clients (with contact information) must be provided as a reference.

- Evaluation and Award of Contract

All bids will be evaluated on the basis of compliance with the technical specifications, completeness of submitted documentation, financial eligibility, and price competitiveness. The contract shall be awarded to the bidder whose offer is determined to be technically responsive and lowest in cost.

The purchaser reserves the absolute right to reject any or all bids without assigning any reason. The final decision on selection will be at the sole discretion of the purchaser and shall be binding on all parties.

- Payment Terms

Payment terms shall be as follows: 80% of the payment will be released upon successful delivery and installation of the equipment. The remaining 20% will be released after final inspection, acceptance by the purchaser’s technical committee, and completion of training.

No payment shall be made for equipment that is received in damaged condition, is non-functional, or fails to meet the required specifications. The bidder must submit all necessary documentation (delivery challans, installation report, warranty documents, training certificate, invoice, etc.) to process payment.

- Other Conditions

No bidder shall be given preference based on category, class, or affiliation. The procurement may be extended to additional phases (e.g., Phase II) depending on availability of funds and institutional requirements.

Delayed delivery or installation may result in cancellation of the order or imposition of penalties

at 0.5% per week of the total order value, subject to a maximum of 10%, as deemed fit by the purchaser.

The scope of the supply and service must be entirely as per the BoQ and technical specifications. Bids with partial compliance or deviations shall not be entertained.

As per Ministry of Finance OM dated 12.11.2020, no EMD is required. Bid Security Declaration in Annexure-5 must be submitted instead.

- Submission and Contact Details

- The Technical s Financial Bids must be submitted strictly in the bid submission format provided (Annexure 1).

- Bidders must submit the Technical and Financial Bids along with supporting documents listed in the checklist (Annexure 2).

- Non-Blacklisting Form (Annexure 3)

- Declaration on Non-Chinese and/or Pakistan Origin of Equipment / Instruments / Machinery (Annexure 4)

- Bid Security Declaration (Annexure 5)

Bids along with annexures shall be submitted in sealed hard copy, clearly superscribed

“Quotation for SIET-IDEA Lab”, on or before 25.09.2025, to the following address:

The Principal,

Sri Shakthi Institute of Engineering and Technology

Sri Shakthi Nagar, L & T By Pass, Chinniyampalayam Post, L& T Bypass,  Coimbatore – 641062, Tamil Nadu

For further details / queries contact:

Dr. S. Bhavani, Coordinator - +91 9942567658 Dr. G.Sundar , Co Coordinator - +91 9842781383

- Specifications and Allied Technical Details

All equipment, tools, and consumables shall be of branded company products with a minimum warranty of three years. The specifications mentioned are the minimum requirements; bidders may quote higher specifications, provided the quoted price does not exceed the cost of the specified specification.

1. Mandatory Equipment

| S.No | Particulars | Specifications | Qty |
| --- | --- | --- | --- |
| 1 | Laser Cutter | CNC LASER ENGRAVING/CUTTING MACHINE – ET3x2L Laser Type: CO2 DC Glass Laser Tube/RF Metal Structure : Steel frame Laser Power : 130 Watts Working Area : 900mX600mm (3x2ft) Z- Axis Work Size : 30mm Transmission Way X Y Z : LM guides and belt Control System : Laser control via USB Laser Source : Co2 Laser tube | 1 |
| 2 | Vinyl Cutter | Dimensions: 1000× 310 × 265 mm or above Max cut size using machine mat: 11.5 inch x 23.5 inch or more Cut speed: up to 14.1 ips + STAND | 1 |
| 3 | 3D Printer | Printing Technology: FDM (Open type) Anycubic Kobra 2 Max 3D Printer Printing Technology : FDM Build Volume : 420 mm x 420 mm x 500 mm Printing Speed : ≤500 mm/s Printing Accuracy : 100±0.1mm Layer Height : 0.1-0.35mm Extruder : Anycubic Self-Developed Direct Extruder + Double Gears Filament Diameter : 1.75mm | 1 |
|  |  | Printing Technology: FDM (Fully enclosed Machine), Multi colour Bambu Lab X1 – Carbon Combo 3D Printer Model Series: X1 Series Print Size (L x W x H) (mm): 256 x 256 x 256 Printing Speed (mm/s): 500 Filament Compatibility: ABS, ASA, Carbon/Glass Fiber Reinforced Polymer, PA, PC, PET, PETG, PLA, PVA, TPU Model No.: X1 – Carbon Combo | 1 |

|  |  | Printing Technology: FDM MAKE3D Model : Pratham 6.0 (600x600x600) Dual Nozzle Extruder Print Technology: Fused Filament Fabrication Build Volume : 600x600x600 | 1 |
| --- | --- | --- | --- |
| 4 | 3D Scanner | 3D Scnners Einstar Vega all in one 3D scanner Scan Mode:HD Mode Fast Mode Light Source:HD Mode: Infrared MEMS Fast Mode: Infrared VCSEL Point Distance:HD Mode: 0.05mm～3mm Fast Mode: 0.5mm~10mm Capture Frame :HD Mode: up to 15 fps Fast Mode: up to 20fps Working Distance:HD Mode: 100-350mm Fast Mode: 270-1500mm IR Camera Resolution:HD Mode: 2MP Fast Mode: 1.3MP Align Mode :Feature; Texture; Markers; Hybrid Color Camera Resolution:48 MP | 1 |

| 5 | CNC Router | Model: ET 8X4 INDPC CNC . Working area – 2440x1220 mm (With clamping space) • Z- Gantry clearance –250 mm • Hybrid Servo motors and drive, Planetary gearboxes • Helical 20mm rack and pinion • 20mm high precision linear guides on X, Y axes • Dust protection bellows on X and Y axes • Backlash free precision hardened and ground ball screw on Z-axis • 3.2kW, 1ph water cooled spindle with 24000 RPM with VFD •Table top: Aluminium T-Slot fully covered. Table precision is less than 1 mm. | 1 |
| --- | --- | --- | --- |
| 6 | Mini Desktop Lathe cum Milling | TABLETOP LATHE MILLING COMBINATION MACHINE - ET300 TURNING Swing Over Bed -300mm Distance Between Centers -500mm Spindle Taper - MT4 Spindle Bore -26mm Tailstock Sleeve Travel -50mm Tailstock Taper -MT3 Large Carriage Travel -200mm Middle Carriage Travel -80mm Metric Thread (Grade) -0.5-3mm (14) Inch Thread (Grade) -11-40T.P.I (20) Spindle Speeds (Grade) -160-1600RPM (6) Automatic Feeder -0.05-0.5mm DRILLING AND MILLING Max. Drilling Diamter -20mm Table size -200x150mm Max. Vertical Milling Capacity -20mm Spindle Taper -MT3 Spindle Travel -80mm Spindle Speeds (Grade) -125-1600rpm (12) Lifting Travel of Drilling and Milling Box -80mm Distance from Spindle Axis to Column Guide Rail -175mm OTHER Motor Power -0.75kw N.W./G.W. -200/210KG Overall Dimensions -1160*580*900mm Package Size -1130x570x910mm | 1 |
| 7 | Drilling M/c 1 HP Motor | No Load Speed: 0 - 630 rpm Motor Power: 1 HP Max Torque: 11 Nm Drill Depth: 160 mm Drilling Diameter: 25mm Model: 1HP Driller" | 1 |
| 8 | Handheld High Speed Drilling. | Rated input power: 450 W | 1 |
| 9 | Benchtop Grinder Machine | Grinding wheel diameter: min 150 mm Rated input power: 350 W or more Grinding wheel widths: 20 mm or more No-load speed: upto 3,000 rpm Grinding wheel bore: 20 mm/2cm Grit 24, 60 or more Weight: 10 kg or less | 1 |

| 10 | Soldering Station | Power Rating: Approximately 60 W maximum output power. Temperature Range: Adjustable from approximately 200 °C up to 480 °C. Temperature Stability: Within ±2 °C under normal operating conditions. Heating Element: Ceramic heating element for rapid heat-up and efficient temperature maintenance. Display: Digital or analog temperature display (depending on variant) for precise temperature control. Temperature Control: Adjustable via knob or digital interface with fine resolution. Power Supply: AC 220 V ±10%, 50/60 Hz. Safety Features: Thermal cutoff and overload protection within required standards. Dimensions: Compact design with 100 mm × 100 mm × 90 mm (W × H × D) or above Weight: Approximately 1.5 kg for ease of portability and bench use. | 5 |
| --- | --- | --- | --- |
| 11 | Desoldering M/c | SMD rework station : 24 L / Min. (Max.), Temp. Range : 100 ºC ~ 420 ºC | 3 |
| 12 | Advanced motorized Sewing Machine | Usha Dream Maker 120 Computerised Sewing Machine ( Built-in Stitches 120 Power: 35 watts; Operating voltage: 220-240 volts, Maximum Stitch Width: 7 mm Number of Buttonhole Styles:7 LCD Screen Display: Yes Bed Type Free Arm/Flatbed convertible Bobbin Type Drop & Sew Bobbin System | 1 |
| 13 | Wood Lathe | Wood lathe machine with chuck and accessories V 200 v 580 W Speed 5000 RPM 680*93*140 mm 6.5 kg | 1 |
| 14 | Power Tools | 10 RE Professional Corded-Electric Drill Tool Kit MS & Plastic 100 Pcs | 1 |
| 15 | Portable Welding M/c | Welding Current (at 40°C, 10 min cycle): 120A @ 100%, 150A @ 60%, 200A @ 35% Supply Voltage: 240V +10%, -15%, 1 Phase, 50/60 Hz Open Circuit Voltage: 55V DC ±5V Welding Current Range: 15–200 Amps DC Insulation Class: F Type Ingress Protection: IP21 Dimensions (L×W×H) with Handle: upto 320×120×195 mm Weight (Approx.): 4.3 kg or less | 1 |
| 16 | Refrigerator | l 184 L 3 Star Direct-Cool Single Door Refrigerator with stabilizer | 1 |
| 17 | Normal and Microwave Oven | 20 L Stainless steel cavity Solo Microwave Oven | 1 |
| 18 | Magnifying Glass with Stand | Power adapter: Input 110-240V50/60Hz | 2 |
| 19 | Digital Microscope | ZEISS Primostar 1 Dimensions (width × depth × height) Stand with binocular tube approx. 190 mm × 400 mm × 390 mm Weight Primostar 1 with binocular tube 30°/20 approx. 7.5 kg Operating data Protection class II Protection type IP20 Electrical safety In compliance with DIN EN 61010-1 (IEC 61010-2-101) including CSA and UL directives Pollution degree -2 | 1 |
| 20 | Mixed Signal Oscilloscope | Bandwidth: Up to 100 MHz Analog Channels: 4 or more Real-Time Sampling Rate: Maximum 1 GSa/s per channel Memory Depth: 10 Mpts per channel Waveform Update Rate: Approximately 120,000 wfms/s Vertical Resolution: 8 bits Vertical Scale: Ranging from 1 mV/div to 10 V/div Horizontal Scale: Spanning 1 ns/div to 100 s/div Spectrum Analyzer Frequency Range: DC to 500 MHz FFT Points: Up to 1M points for enhanced frequency domain resolution Waveform Math Functions: Includes addition, subtraction, multiplication, division, minimum, maximum, root, square, absolute, inverse, derivative, integral, and low-pass filter Trigger Types: Edge, Pulse Width, Video, Pulse Runt, Rise & Fall (slope), Alternate, Timeout, Event-Delay, Time- Delay, and Bus Arbitrary Waveform Generator (AWG): Dual- channel, 25 MHz, supporting various waveforms such as sine, square, pulse, ramp, DC, noise, sinc, Gaussian, Lorentz, exponential rise/fall, haversine, and cardiac AWG Sample Rate: 200 MSa/s AWG Vertical Resolution: 14 bits Display: 8-inch WVGA TFT LCD (800 × 480 pixels) Data Logging Capability: Up to 1000 hours Segmented Memory: Supports up to 29,000 segments for efficient waveform storage and retrieval Connectivity: USB 2.0 (host and device), Ethernet (RJ45), and Go-NoGo BNC Dimensions (W × H × D): 380× 200× 125 mm or above Weight: 2 Kgs or above Safety Compliance: Conforms to IEC 61010-1 and IEC 61010-2-030 standards, suitable for CAT III 600V and CAT II 1000V environments with Pollution Degree 2 classification | 1 |

| 21 | Digital Storage Oscilloscope | Number of Channels: Up to 2 independent analog inputs Memory Record Length: Up to 10 Mpts for extended waveform capture Bandwidth Limiting: Selectable 20 MHz bandwidth filter Sampling Rate: Maximum of 1 GSa/s real-time equivalent per channel Rise Time: ≤ 3.5 ns depending on probe and settings Display: 7" TFT color LCD with 800×480 resolution Time Base Range: From 5 ns/div to 100 s/div, user-adjustable Vertical Resolution: 8-bit digital resolution Trigger Modes: Automatic, Normal, and Signal- dependent triggering Maximum Input Voltage: 300 Vrms (within safety limits) Input Sensitivity: Within the range of 1 mV/div to 10 V/div Input Coupling Options: Selectable among AC, DC, and Ground Trigger Coupling Modes: Configurable as AC, DC, High-pass, or Low-pass Physical Dimensions: Approximately 350 × 200 × 120 mm or above Unit Weight: 2.5 kg or above Input Impedance: Nominal 1 MΩ // 16 pF Measurement Capabilities: Equipped for automatic parameter extraction, background, noise filtering, and AUTOSET configuration for display scaling (time base/gain) Protocol Decoding Support: Capable of analyzing I2C, SPI, UART, CAN, and LIN communication protocols Standard Accessories: Includes mains power cable, user manual (digital format), and one GTL-16E probe per input channel | 1 |
| --- | --- | --- | --- |
| 22 | Coordinate measuring machine (CMM) | Faro Gage Plus Portable CMM Arm features an articulated measuring arm with a working volume of 1.5m (4.9ft). Key performance specifications include an MPE (Maximum Permissible Error) of 0.012 mm (0.0005 in) for SPAT (Single Point Articulation Test) and 0.022 mm (0.0009 in) for EUNI (Error of Unit). Hardware specifications include a power supply of 100-240 VAC, an operating temperature range of 10°C - 40°C (50°F - 104°F), and a weight of approximately 8.2 kg | 1 |

| 23 | Signal Generator | Dual Channel Function/Arbitrary Waveform Generator 60MHZ: 60MHz; 2 channels; 150MSa/s; wave length: 16Kpts; function/arbitrary waveform output amplitude:4mV ~ 20Vpp (high impedance); modulation function (AM DSB-AM FM PM ASK FSK PWM Sweep Burst); frequency counter function Easy Pulse technology. Standard interfaces: USB Device USB Host. | 1 |
| --- | --- | --- | --- |
| 24 | Variable Power Supply | Output Configuration: 4-channel design with independent electrical isolation across all outputs Channel Output Ranges: - CH1 & CH2: Adjustable output voltage from 0 to 32V with a current delivery capacity up to 3A - CH3: Variable range 0 to 5V supporting up to 1A - CH4: Output adjustable from 0 to 15V with a load current of up to 1A Constant Voltage Operating Mode Line Regulation: ≤ 0.01% + 3 mV (approximate value within rated voltage range) Load Regulation: ≤ 0.01% + 3 mV (across rated load variation) Ripple & Noise: ≤ 1 mVrms across full bandwidth Constant Current Operating Mode Line Regulation: ≤ 0.2% + 3 mA Load Regulation: ≤ 0.2% + 3 mA Ripple Current: ≦ 3 mArms (typical) Safety & Operational Features Output Control: Independent output ON/OFF switching functionality is required Voltage Resolution: Approximately 100 mV (*1) Current Resolution: Approximately 10 mA (*1) Display Parameters Display Units: Four separate displays required for individual channel status visualization Display Type: 4.3-inch LCD (color or monochrome as applicable) | 1 |

|  |  | Functional Features Tracking Operation: Supported (required for synchronizing output behavior) Auto Series/Parallel: Supported (automatic internal reconfiguration required) Power Requirements Supply Input: 230V AC ±10%, 50 Hz Mechanical Specifications Maximum Dimensions (W × H × D): Within 200 mm × 100 mm × 200 mm Maximum Weight: 10 kg or less |  |
| --- | --- | --- | --- |
| 25 | Benchtop Multimeter | DC Voltage: Range: 500 mV to 1000 V across 5 ranges. Accuracy: ±(0.03% rdg + 4 digits). Input impedance: 10 MΩ. AC Voltage (True RMS): Range: 500 mV to 1000 V across 5 ranges. Accuracy: ±(0.5%– 5% rdg + digits) depending on frequency and range. Input impedance: 10 MΩ. DC Current: Range: 500 μA to 20 A across 6 ranges. Accuracy: ±(0.02%– 0.3% rdg + 2 digits) depending on range. AC Current (True RMS): Range: 500 μA to 20 A across 6 ranges. Accuracy: ±(0.5%–1% rdg + digits) depending on frequency. Resistance: Range: 500 Ω to 20 MΩ across 6 ranges. Accuracy: ±(0.1%–0.3% rdg + digits) depending on range. Diode Test: Max forward voltage 1.5 V, open voltage 2.8 V. Capacitance: Range: 5 nF to 50 μF. Accuracy: ±(2% rdg + 4 digits). Frequency: Input level varies by range; functions include Auto/Manual Range, Max, Min, dBm, Rel, Hold. Continuity Beep: Threshold <5 Ω. Display: Dual 7-segment LED, 0.4" and 0.5". Power Source: AC 100/120/230 V ±10%, 50/60 Hz. Dimensions & Weight: Approximately 251 × 91 × 291 mm; 2.6 kg. | 1 |
| 26 | Projector | 4000 Lumens High Brightness, 20000:1 High Contrast Ratio, Dual HDMI, USB-A, Upto 15000 Hrs Extra-Long Lamp Life, 10 W Speaker, 3D Capable | 2 |
| 27 | Heavy Duty Laser Printer | All-in-One LaserJet Pro Printer with Duplex & Wi-Fi W1A24A | 1 |
| 28 | PCB Milling Machine | PCB Prototyping Machine-manual tool change (MTC) 1.2 KW and 40000 RPM or better Machine dimensions :700 X 350 X 270 mm Working area 400 X 300 mm PCB Cabinet with Hand held remote Desktop Computer, CPU, Mouse and Keyboard Vacuum Cleaner Single Side Copper Clad – 5 No’s Double Side Copper Clad – 5 No’s Drill Bits – 1 set Engrave Bits – 10 No’so Spanner sets and screw drivers - 1 sets Double and single side tape- 1 sets | 1 |

| 29 | Smart Board | Interactive Flat Panel 75" Version: Android 14 RAM: 8GB ROM: 128GB Display Type: LED Viewing Angle: 120 Degrees Image Aspect Ratio: 16:9 Resolution: 3840x2160 Pixels Audio input compatible with the item: USB HDMI+ movable stand | 1 |
| --- | --- | --- | --- |
| 30 | Computer Workstation in networking | Workstation 32GB (1x32GB) i7 1TB SSD NVIDIA RTX 3050 - 4GB Win 11 Pro 22 INCH FHD MNTR TFT Mouse and Keyboard or better | 5 |
| 31 | Miter Saw | Bosch Professional GCM 254 Corded Electric Mitre Saw, 1750 W, 5000 RPM, 11.1 Kg ¦ Accurate Cutting with Direct Laser Guide | 1 |
| 32 | Table saw | Bosch GTS 254 Professional Table Saw 254 mm, 1800 W, 4300 RPM | 1 |
| 33 | Angle Grinder | Rated Input Power: Approximately 670 W maximum power consumption. No-Load Speed: Approximately 11,000 rpm. Disc Diameter: Approximately 100 mm nominal diameter. Grinding Spindle Thread: Standard M10 thread. Weight: Approximately 1.5 kg. Switch: Lockable switch for operational safety. | 1 |
| 34 | Straight Grinder | Rated Input Power: Max 300 W power consumption. No-Load Speed: Up to 28,000 rpm. Voltage, Electrical: Nominal 230 V AC supply. Spindle Collar Diameter: Approximately 41 mm. Weight: Around 1.4 kg. Maximum Grinding Tool Diameter: Up to 25 mm. Maximum Collet Diameter: Up to 8 mm. Switch: Lockable switch for enhanced safety. | 1 |
| 35 | Power Circular Saw | Brand : Bosch, Model : GKS 130, Blade Material: Alloy Steel, Surface Recommendation: Wood Power Source: Corded Electric, Special Feature: depth adjustment, Fast cutting speed thanks to the powerful 1400W motor | 1 |
| 36 | Sublimisation machine | Dimensions 45L x 50W x 50H Centimeters | 1 |

2. Mandatory Consumables

| S.No | Particulars | Specifications | Qty |
| --- | --- | --- | --- |
| 1 | Vacuum Cleaner | 1400Watts Dry Vacuuming 24 kPa Suction Power 1.5L Dust Collector | 1 |
| 2 | Hot Air Gun- 5 Nos. | Rated Input Power: Approximately 1,800 W maximum power consumption. Voltage, Electrical: Nominal 230 V AC supply. Weight: Approximately 0.75 kg. Working Temperature Range: Adjustable within approximately 60 °C to 550 °C. Heat-Up Time: Approximately 1 second to reach target temperature. Airflow: Adjustable within approximately 350 to 550 liters per minute. Airflow Control: Three selectable airflow settings. | 1 |
| 3 | Measuring Equipment [Vernier calliper (0-200/0.01) Vernier height gauge(0-1000mm) MiCrOmeter 0- 50 50-100/0.001 inside and outside)] Metal Scale etc |  | 1 |
| 4 | Fire Extinguisher | 6 kg | 1 |
| 5 | First Aid Box |  | 1 |
| 6 | Digital Multimeter | Display Count: Up to 4000 DC Voltage Range: Up to 1000 V AC Voltage Range: Up to 1000 V DC Voltage Accuracy: ±0.5% or ±3 digits, whichever is higher AC Voltage Accuracy: Within ±1% + 3 digits DC Current Measurement: Up to 10 A AC Current Measurement: Maximum 10 A DC Current Accuracy: ±1.5% + 3 digits (approximate) AC Current Accuracy: ±1.5% + 3 digits (typical) Resistance Measurement: Up to 40 MΩ Resistance Accuracy: Estimated at ±1.5% + 3 digits Capacitance Measurement: Up to 1000 μF Capacitance Accuracy: ±5% or ±5 digits Operating Temperature Range: From 0°C up to approximately 40°C Storage Temperature Range: Between -30°C and 60°C Overall Dimensions (H×W×L): Approximately 183×91×49.5 mm Unit Weight: Around 455 grams Safety Compliance: As per IEC 61010-1 & IEC 61010-2-030 standards, suitable for CAT III 600V and CAT II 1000V environments with Pollution Degree 2 classification | 5 |
| 7 | Clothes Iron |  | 5 |
| 8 | Electronic Component Repository (LCR Meter Variac |  | 1 |
| 9 | 2Way Tapes | 2Way Tapes | 20 |
| 10 | Aluminum Channels | L, C, Box, Strip Length 12ft | 10 |
| 11 | PCB Drill Bits | 0.5mm, 0.8mm, 1mm | 60 |

| 12 | Drill Bits | Drill Bits : 3mm, 4mm, 5mm, 6mm (20 each) | 80 |
| --- | --- | --- | --- |
| 13 | Drill Bits | Drill Bits : 8mm, 10mm, 12mm (5 each) | 15 |
| 14 | Carpentry Boring Bits | Entire Kit | 2 |
| 15 | USB Cable | For connecting Arduino and other development boards | 10 |
| 16 | LAN Cables | For connecting Raspberry Pi | 5 |
| 17 | 3D Printing filament | PLA plus, PLA plus multi color, ABS, ABS multi color, Flexible TPU, PETG, Carbon Fused Composites, ASA , HIPS. (20 each) | 180 |

3. Mandatory Tools- Mechanical

| S.No | Particulars | Specifications (standley or Taparia) | Qty |
| --- | --- | --- | --- |
| 1 | Micro Chisel Set |  | 3 |
| 2 | Pliers |  | 3 |
| 3 | Manual PCB Drilling Machine |  | 3 |
| 4 | PCB power Drilling Machine |  | 3 |
| 5 | Cordless Drilling Machines |  | 2 |
| 6 | Jigsaw Machines | Rated Input Power: Approximately 500 W maximum power consumption. Voltage, Electrical: Nominal 230 V AC supply. | 2 |
| 7 | Power Circular Saw |  | 2 |
| 8 | Files Set |  | 2 |
| 9 | File Handles set |  | 1 |
| 10 | Needle Files |  | 2 |
| 11 | Pipe Vice |  | 2 |
| 12 | Mini HackSaw |  | 5 |
| 13 | Ball Peen Hammer (Stanley) | Head Weight: 220 g Head Width: 88 mm Face Diameter: 34 mm Handle Length: 30.96 cm Total Length: 35.59 cm Total Weight: 0.35 kg | 5 |
| 14 | Steel Shaft Claw Hammer |  | 5 |
| 15 | Nylon Mallet |  | 5 |
| 16 | Rubber Mallet (Stanley) | Head Length: 350 millimeters Weight: 450 grams | 5 |
| 17 | multi tool kit |  | 2 |
| 18 | Belt and Disc Sanding | Motor: 230V 50Hz Power: 380W S2 30min No-load Speed: 1450rpm or more Belt Size: 100x914mm or less | 1 |

|  | Machine | Disc Size: 150mm or better Table Titing Range: 0°-45° Belt Titing Range: 0°-90° Table Size: upto 190x125mm |  |
| --- | --- | --- | --- |
| 19 | Scroll Saw Machine |  | 1 |
| 20 | Moto Saw |  | 1 |
| 21 | Bench Grinding Machine |  | 1 |
| 22 | Power Return Measuring Tape (STANLEY) | 5m | 5 |
| 23 | Try square Ketsy | 150mm | 5 |
| 24 | Steel ruler Kristeel | 24 inch , 12 inch | 5 |
| 25 | Digital Vernier Caliper (Zhart) |  | 5 |
| 26 | SPRIT LEVEL Black & Decker | 300mm | 5 |
| 27 | Impact Drill |  | 3 |
| 28 | Ratchet Set | Make: Yato Model: Ratchet set Yato' Socket & Bit Set 1/4" Sq.Drive, 46 Pes. Set, 3 To 14mm Sockets, 25 Assorted Screw Driver Bits With Accessories In Blow Moulded Box, Ideal For Any Automobile Or Engineering Industry | 2 |
| 29 | Router Bit Starter kit |  | 2 |
| 30 | Scroll Saw | Power input: 50 Watt Thickness of Cut: 50 mm (2 inch) Throat: 406 mm (16 inch) Length of Stroke: 18 mm (11/16 inch) Strokes Per Minute: 400- 1,600 SPM Overall Length: 600 mm (23-5/8 inch) | 1 |
| 31 | C-Clamp 100mm Stanley | 100mm | 10 |
| 32 | Ratchet clamp 8 inches/200mm |  | 10 |
| 33 | Anvil |  | 1 |

4. Mandatory Tools – Electrical

| S.No | Particulars | Specifications (Standley or Taparia) | Qty |
| --- | --- | --- | --- |
| 1 | Hot Air Blower With Soldering Iron |  | 5 |
| 2 | Tin Cutter with Spring |  | 10 |
| 3 | Centrifugal Blower | Rated Input Power: Max 650 W power consumption. Weight: Approximately 1.7 kg. Voltage, Electrical: Nominal 230 V AC supply. Sound Pressure Level: Around 103 dB(A). Sound Power Level: Approximately 95 dB(A). Uncertainty (K): Within ±3 Db | 1 |
| 4 | Cutting Mats |  | 5 |
| 5 | Vacuum Cleaner |  | 2 |
| 6 | Hot Air Gun- |  | 5 |
| 7 | Micrometer - |  | 5 |
| 8 | Glue Gun |  | 5 |
| 9 | Air Compressor |  | 1 |
| 10 | Allen Set Wrench |  | 5 |
| 11 | Tongue and Groove Pliers |  | 5 |
| 12 | Non contact voltage tester |  | 5 |
| 13 | Wire Stripper |  | 5 |
| 14 | Fish tape |  | 2 |
| 15 | Flashlights |  | 2 |
| 16 | DC Regulated Power Supply |  | 3 |
| 17 | Solder Wick |  | 10 |
| 18 | Filament Dehydrator | Operating Temperature Range: Min 45°C– 70°C Drying Time Setting: 0–48 hours or higher Hot-Air Heating: upto 360° circulation Moving Speed: 300 mm/s or more Power Rating: 160 W Shipping Weight: 2.5 kg | 1 |
| 19 | Reflow Oven | No. of Waves: 7 or higher Heating Type: Infrared IC Heater Max. PCB Width: 300×320 mm or more Power Supply: AC 220V / 50Hz Peak Power: 1500W Cycle Time: 1–8 min or less Temperature Range: 0°C–280°C | 1 |
| 20 | Glass Cutter |  | 1 |
| 21 | Digital Muttimeter |  | 5 |
| 22 | Oscilloscope | Digital Storage Oscilloscope 100 MHZ 2 Channel 1Gsa/s: 100 MHz;2 channels; 1 GSa/s; | 4 |

5.Opt. Equip & Consumables

| S.No. | Equipment / Products | Specification | Qty |
| --- | --- | --- | --- |
| Industrial Embedded Controller (IoT) |  |  |  |
| 1 | GPIO Power Router |  | 1 |
| 2 | Raspberry Pi 4 Kit | Raspberry Pi 4 - 4GB - Broadcom BCM2711, Quad core Cortex-A72 (ARM v8) 64- bit SoC @ 1.5GHz HDMI to VGA Adapter¦ USB OTG Cable ¦ 16GB SD Card ¦ Raspberry Pi4 Case ¦ 5V 3A Power Supply | 12 |
| 3 | Raspberry Pi 5 Kit | Broadcom BCM2712 processor, a more powerful VideoCore VII GPU, and options for up to 16GB of LPDDR4X SDRAM | 5 |
| 4 | Arduino Mega | Operating Voltage : 5V Input Voltage(Recommended) : 7-12V Input Voltage(Limit) : 6-20V Digital Input/output Pin : 54 (of which 15 provide PWM output) Analog Input Pins : 16 | 5 |
| 5 | Arduino Nano | Micocontroller : ATmega328 Architecture : AVR Operating Voltage : 5 V Flash Memory : 32 KB of which 2 KB used by bootloader SRAM : 2 KB Clock speed : 6 MHz | 5 |
| 6 | Arduino UNO | Micocontroller : ATmega328 Operating Voltage : 5V Input Voltage(Recommended) : 7-12V Input Voltage(Limit) : 6-20V Digital Input/output Pin : 4 (of which 6 provide PWM output) | 25 |
| 7 | ESP32 Wroom 32E Dev board | Microprocessor : Xtensa dual-core 32-bit LX6 microprocessor Operating Voltage : 3.6V On Board Antenna. Current - 600mA | 10 |
| 8 | NodeMCU 8266 | Microcontroller : Tensilica 32-bit RISC CPU Xtensa LX106 Operating Voltage : 3.3V Input Voltage : 7-12V Digital I/O Pins (DIO) : 16 Analog Input Pins (ADC) : 1 | 10 |
| 9 | NRF52840 EBYTE Module | nRF52840 2.4GHz BLE4.2/5.0 Bluetooth LE Module | 10 |
| 10 | ESP 8266 development board | 32-bit processor, supports 802.11 b/g/n Wi-Fi, and has multiple interfaces like GPIO, UART, SPI, and I2C | 5 |
| 11 | Jetson Nano Board | 128-core NVIDIA Maxwell GPU, a quad-core ARM A57 CPU, and 4GB of LPDDR4 RAM | 2 |
| 12 | STM32F103C6T6 Minimum System Development Board | Microcontroller: STM32F103C6T6 ARM® 32-bit Cortex® -M3 CPU | 10 |

|  |  | 72 MHz max CPU frequency |  |
| --- | --- | --- | --- |
| 13 | Sipeed Maix 2 Dock with cam (AI & Image Processing) edge computing | 2MP Camera with 1.8 inch TFT Screen | 5 |
| 14 | ESP32 S3 AiIot Devlopment Kit | Multiprotocol Modules SMD IC, Dual-Core MCU, Wi-Fi 2.4G & BLE 5.0 Combo | 5 |
| 15 | ESP32 LCD KIT | ESP32-based with USB Type- C with mini LCD screen | 3 |
| 16 | Raspberry Pi extension board | Compatible With Raspberry Pi Module: T Type GPIO Extension Adapter Dimensions: 72 x 59 x 13 (LxWxH) mm. Pins: 40 Shape: T-Shape | 6 |
| 17 | Rasberry pi 5MP cam | 5MP Camera | 12 |
| 18 | Raspberry Pi 3 Camera Module Night Vision Camera |  | 5 |
| 19 | ESP 32 S3 Eye Development Board | With LCD and Camera | 5 |
| 20 | Temperature and Humidity sensor - DHT22 | Humidity measuring range: 20%~90%RH(0~50 degree (temperature compensation). Temperature measuring range: 0~+50degree. | 25 |
| 21 | Flex sensor -2.2" | Total Length: 2.2″ . | 10 |
| 22 | Barometer pressure sensor - BME180 | BME280 sensor or similar | 10 |
| 23 | LDR module analog | Output Digital – 0V to 5V, Adjustable trigger level from preset. LEDs indicating output and power. Operating Voltage: 3.3V to 5V DC. Operating Current: 15ma. | 25 |
| 24 | LDR sensor | Diameter: 5mm No. of Pins: 2 Type of Mounting: PCB Through Hole Maximum Operating Temperature: +800°C (Approx.) Dark resistance:1-20 Mohm | 50 |
| 25 | Gyroscope | their ability to sense angular velocity, their relatively small size and low cost (especially MEMS gyros), and their integration with other sensors like accelerometers for enhanced motion sensing | 5 |
| 26 | Oxygen gas sensor | ability to detect lean and rich air-fuel mixtures, their role in controlling the | 10 |

|  |  | air-fuel ratio, and their contribution to cleaner exhaust emissions. |  |
| --- | --- | --- | --- |
| 27 | Hydrogen gas sensor | Detects: LPG, Butane, Hydrogen Gas | 10 |
| 28 | Alcohol sensor | MQ3 Sensor Power requirements: 5 VDC @ ~165 mA (heater on) / ~60 mA (heater off) Current Consumption: 150mA DO output: TTL digital 0 and 1 ( 0.1 and 5V) AO output: 0.1- 0.3 V (relative to pollution), the maximum concentration of a voltage of about 4V Detecting Concentration: 0.05-10mg/L Alcohol Interface: 1 TTL compatible input (HSW), 1 TTL compatible output (ALR) Heater consumption: less than 750mW Operating temperature: 14 to 122 °F (-10 to 50°C) Load resistance: 200kΩ Sensitivity S: Rs(in air)/Rs(0.4mg/L Alcohol)≥5 Sensing Resistance Rs: 2KΩ- 20KΩ(in 0.4mg/l alcohol) Dimensions: 32 x 22 x 16 mm | 25 |
| 29 | PM2.5 Sensor | Particulate matters in air down to 0.3 micrometershigh sensitivity, real- time monitoring, and ease of maintenance |  |
| 30 | Methane sensor | MQ4 Sensor Detection Gas: Natural Gas/Methane Concentration: 300-10000ppm Supply Voltage: <24V Heater Voltage: 5.0V ± 0.2V Load Resistance: Adjustable Heater Resistance: 31Ω ± 3Ω Heater Consumption: <900mW | 10 |
| 31 | LPG sensor | MQ5 Sensor Heater Voltage: 5.0V. Power Supply: 5 Volts. Interface Type: Analog & Digital. Working Current: 150mA. DOUT: TTL output. AOUT: Analog output. | 10 |
| 32 | Carbon Monoxide sensor | The MQ-7 can detect CO-gas concentrations anywhere from 10 to 500ppm. | 10 |
| 33 | Carbon Dioxide sensor | NDIR technology for accurate measurement, a defined measurement range (often 0-5000 or 0-10,000 ppm), and specifications for response time, accuracy, and operating temperature/humidity |  |
| 34 | SeeedStudio Grove | Seeed Studio Grove System is a modular, standardized connector prototyping ecosystem. The Grove System takes a building block approach to assemble electronics. Compared to the jumper or solder based system, it is easier to connect devices to an application, simplifying the learning system. The Base Unit, generally a microprocessor, allows for easy connection of any input or output from the Grove Modules. Each Grove Module typically addresses a single function, such as a simple button or a more complex heart rate sensor. | 1 |

| 35 | Pulse Sensor heart rate | Operating Voltage: 3 to 5VDC Operating Current: 4mA Sensor Output: Digital Senor Diameter: 30mm | 10 |
| --- | --- | --- | --- |
| 36 | Temperature sensor (LM35) module | Calibrated directly in Degree Celsius (Centigrade) Linear at 10.0 mV/°C scale factor 0.5°C accuracy guarantee-able (at a25°C) | 25 |
| 37 | K Type Thermocouple Sensor | With a simple three serial SPI interface; Temperature signal can be converted into 12-bit digital Temperature Range(°C): 0 to +1024 Cold Junction Compensation Range(°C): -20 to +80 | 5 |
| 38 | RTC Module - DS1302 | Crystal 32.768KHz, matching capacitance 6pF DS1302 8-pin SMD homem chips | 10 |
| 39 | Analog Soil Sensor | Operating voltage: 3.3V~5V Dual output mode, analog output more accurate A fixed bolt hole for easy installation With power indicator (red) and digital switching output indicator (green) Having LM393 comparator chip, stable Panel PCB Dimension: Approx.3cm x 1.5cm | 10 |

| 40 | Sound sensor | Detectable sound signal size Built-in filter-rectifier circuit, DC signal output Good sensitivity, built-in amplifier circuit, adjustable gain Voltage signal for sound intensity can be obtained by AD conversion Analog voltage signal output, signal amplitude VCC/2 Compatible for Arduino sensor interface. | 25 |
| --- | --- | --- | --- |
| 41 | Colour sensor / 4 in 1 | Operating Voltage: 2.7V ~ 5.5V Power Down Feature Stable Temperature Coefficient Can be directly interfaced with a Microcontroller Compatible with Arduino as well as Raspberry Pi. (Or with APDS9960) | 25 |
| 42 | PIR Motion Sensor - HC- SR501 | Detection Angle: <140° Detection Distance: 3 to 7m (can be adjusted) Blockade time: 2.5s (Default) | 25 |
| 43 | Ultrasonic Sonar Distance Sensor | Sonar Sensing Range: 2- 400 cm Frequency: 40 kHz | 25 |
| 44 | Inductive proximity | "Operating Voltage (VDC): 6 ~ 36. Detection Distance (mm): 4. Output Type: NPN Normally Open Three-line. Max Output Current: 200 mA." | 5 |
| 45 | IR distance sensor - Module | Distance: (4cm-30cm) | 50 |

| 46 | Finger Print sensor | "Interface : UART (TTL logical level)/ USB 1.1 Matching Mode: 1:1 and 1:N Character file size: 256 bytes Image acquiring time : <0.5s Template size : 512 bytes Storage capacity: 256 Security level : 5 (1, 2, 3, 4, 5(highest)) Average searching time: < 0.8s (1:880) Window dimension : 18mm*22mm" | 8 |
| --- | --- | --- | --- |
| 47 | LIDAR - 2m module | Distance Range(m):2 | 5 |
| 48 | Non-invasive AC Current Sensor (20A max) | Measuring Current : 20A max | 5 |
| 49 | Non-invasive AC Current Sensor (5A max) | Measuring Current : 5A max | 5 |
| 50 | Invasive Current sensor- ACS712 | Low-noise analog signal path Device bandwidth is set via the new FILTER pin 5 µs output rise time in response to step input current Small footprint, low-profile SOIC8 package 2.1 kVRMS minimum isolation voltage from pins 1-4 to pins 5-8 Supply Voltage: 4.5V~5.5V DC Measure Current Range: 20A Sensitivity: 100mV/A | 5 |
| 51 | AC Voltage Sensor - ZMPT101B | Voltage – 250V Easy PCB mounting | 5 |
| 52 | Hall Effect Sensor | Digital Output Hall-effect sensor. Operating voltage: typically 5V. Output Current: 25mA. It can be used to detect both the poles of a magnet. | 10 |
| 53 | AI Thinker Voice Recognition Module | Module: VC-02 module Brand: Ai-Thinker Power Supply: 5V Current: 500mA SPI: 2 MB (Bild in) IO: 10 | 2 |
| 54 | Momentary Capacitive Touch Sensor | No microcontroller required - power with 1.8 to 5VDC and touch the pad to activate the sensor | 25 |
| 55 | 4 part touch sensor( single module) | Operating Voltage: 2V-5.5V,Startup Calibration Delay: 0.5 Sec, Simple to Use, Auto Calibration, Output Status Indicator LED | 5 |
| 56 | 8 part touch sensor( single module) | Onboard TTP226 capacitive touch sensor IC,8 board-level status indicator,Working voltage: 2.4V - 5.5V | 5 |
| 57 | pH sensor Kit | Module Power: 5.00V Module Size : 43 x 32mm(1.69×1.26″) Measuring Range :0 – 14PH Measuring Temperature: 0 – 60℃ Accuracy : ± 0.1pH (25 ℃) | 10 |

| 58 | Liquid Flow Meter | Plastic 1/2" NPS Threaded | 10 |
| --- | --- | --- | --- |
| 59 | Load Cell | 10kg, Straight Bar | 10 |
| 60 | Load Cell Amplier | Output Sensitivity: 1.0 ± 0.1 mV / V. | 10 |
| 61 | Force - Sensitive Resistor - Square | Size: 5mm Thickness: Ultra-thin; 0.45 mm | 5 |
| 62 | T-Slot IR Sensor module | The width of the optical coupling slot: 10mm Single signal output. The circuit board output switch! | 10 |
| 63 | Sharp IR Sensor module | Detection distance: 2 ~ 30cm Detection angle: 35 ° | 25 |
| 64 | IR remote Control - 433MHZ | - Effective angle: 60° - Sticking material: 0.125mmPET - Effective life: 20,000 times - Battery slot: CR2025 | 5 |
| 65 | BO Motor – Straight - 60 RPM | Operating Voltage(VDC): 3~12 Shaft Length (mm): 8.5 Shaft Diameter (mm): 5.5 (Double D-type) No Load Current: 40-180mA. Rated Speed(After Reduction): 60 RPM Rated Torque: 1 Kg Cm | 30 |
| 66 | BO Motor – Straight - 100 RPM | Operating Voltage(VDC): 3~12 Shaft Length (mm): 8.5 Shaft Diameter (mm): 5.5 (Double D-type) No Load Current: 40-180mA. Rated Speed(After Reduction): 100 RPM Rated Torque: 0.35 Kg Cm | 30 |
| 67 | Wheel for BO DC Motor | Diameter: 65 mm Width : 28 mm The material of Wheel: High-strength plastic The material of Tyre: Rubber Color: Yellow | 60 |
| 68 | DC Motor - 130 DIY Toy Motor | Operating Voltage: 3 to 6VDC Shaft Diameter: 2 mm Shaft Length: 10mm | 60 |
| 69 | Metal Gear Servo Motor MG995 - Standard | Continuous rotation 180° Stall torque @4.8V : 13kg-cm Stall torque @6.6V : 15kg-cm | 20 |
| 70 | Micro servo motor - TowerPro - SG90 | Torque - 1.8 kg-cm Weight - 9g Continuous rotation 180° | 40 |

| 71 | 5V Stepper Motor with driver | - Rated voltage: 5V DC - Reduction Ratio: 64:1 - Step Angle: 5.625° /64, Frequency: 100Hz Self-positioning Torque: >34.3mN.m - Friction torque: 600-1200 gf.cm - Pull in torque: 300 gf.cm | 20 |
| --- | --- | --- | --- |
| 72 | NEMA 17 | Torque: 0.8 N-m Minimum rotation angle: 1.8deg Operating Voltage: 24 V Operating current: 1A | 6 |
| 73 | NEMA 23 | Torque: 1.17 N-m Minimum rotation angle: 1.8deg Operating Voltage: 24 V Operating current: 2A | 6 |
| 74 | DC Motor Driver - L298N | "Operating Voltage: 3 to 6VDC Shaft Diameter: 2 mm Shaft Length: 10mm" | 60 |
| 75 | CNC Driver Shield with A9888 Board | Minimum operating voltage: 8 V Maximum operating voltage: 35 V Continuous current per phase: 1 A2 Maximum current per phase: 2 A3 Minimum logic voltage: 3 V Maximum logic voltage: 5.5 V Microstep resolutions: full, 1/2, 1/4, 1/8, and 1/16 Reverse voltage protection?: N Bulk packaged?: N Header pins soldered?: N4 | 3 |
| 76 | Servo Motor Driver | 16-Channel 12-bit PWM/Servo Driver I2C interface | 5 |
| 77 | Robotic Chasis Kit with Mutiple Wheels options | - Very Easy to Assemble - High-Quality Laser-cut Metal Chassis - Precise Hole to assemble motors and Sensor - High-Quality Wheels and 125 RPM BO Motors with Dual Straight Shaft - Can be used for any electronics and Mechanical college project | 5 |
| 78 | LCD display 16x2 with I2C | - Character Color: White - Backlight: Blue - Supply voltage: 5V - Board Dimensions( L x W x H ) mm: 80 x 36 x 18 | 25 |
| 79 | 5V 4 Channel Relay Module - with Optocoupler | AC voltage 250V, AC current 10A, maximum DC voltage 30V DC current maximum 10A. Power indicator (green), Two ways of relay status indicator light (red). Using 8550 transistor-driven, strong driving ability. | 10 |
| 80 | 5V 1 Channel Relay Module - with Optocoupler | AC voltage 250V, AC current 10A, maximum DC voltage 30V DC current maximum 10A. Power indicator (green), Two ways of relay status indicator light (red). Using 8550 transistor-driven, strong driving ability. | 25 |
| 81 | 5V relay cube | AC voltage 250V, AC current 10A, maximum DC voltage 30V DC current maximum 10A. | 5 |

| 82 | 5V 2 Channel Relay Module - with Optocoupler | AC voltage 250V, AC current 10A, maximum DC voltage 30V DC current maximum 10A. Power indicator (green), Two ways of relay status indicator light (red). Using 8550 transistor-driven, strong driving ability. | 10 |
| --- | --- | --- | --- |
| 83 | 12V relay cube | AC voltage 250V, AC current 10A, maximum DC voltage 30V DC current maximum 10A. | 5 |
| 84 | 12V 2 Channel Relay Module - with Optocoupler | AC voltage 250V, AC current 10A, maximum DC voltage 30V DC current maximum 10A. Power indicator (green), Two ways of relay status indicator light (red). Using 8550 transistor-driven, strong driving ability. | 10 |
| 85 | 12V 4 Channel Relay Module - with Optocoupler | AC voltage 250V, AC current 10A, maximum DC voltage 30V DC current maximum 10A. Power indicator (green), Two ways of relay status indicator light (red). Using 8550 transistor-driven, strong driving ability. | 10 |
| 86 | OLED - 0.96 | Size: 1.3 inch, Resolution: 128 x 64 Controlling Chip: SSH1106 Driving Voltage: 3.3-5V Operating Temperature: -40~70 celsius Interface Type: IIC Light Color: White | 10 |
| 87 | Buzzer | Input Voltage(Max.) : 5V Resistance: 42 Ω Resonance Frequency: 2048 Hz Body Size : 12 x 8mm Pin Pitch: 6mm External, Material: Plastic; | 60 |
| 88 | GPS Module with EPROM (GP- 02-Kit base on GP-02 module AT6558R chip) | 5Hz position update rate. The cold start time of 38 s and the Hot start time of 1 s. | 10 |
| 89 | GSM receiver (SIMCOM SIM7020G IoT Module 4G/LTE NB-IoT Module with SIMCard Slot) | 4g SIMCOM Module | 10 |
| 90 | GSM Antenna | Frequency (MHz): 698-960MHz & 1710-2690 MHz Gain: 2/5 dBi Connector:SMA- Male Impedance (Ω) :50 VSWR: < 2.0 | 10 |
| 91 | Zigbee Module with breakout board | - Integrated, Wire Antenna - Interoperable with other ZigBee-compliant devices - Programmable versions with onboard microprocessor enable custom ZigBee application development - Supports binding and multicasting for easy integration into a home automation platform - Data Rate: RF 250 Kbps, Serial up to 1 Mbps - Range: Indoor 200 ft (60 m), Outdoor (LOS) 4000 ft (1200 m) | 3 |

| 92 | HC-05 Bluetooth | Operating Voltage: 4V to 6V (Typically +5V) Operating Current: 30mA Range: <100m | 25 |
| --- | --- | --- | --- |
| 93 | Nrf24l01 RF Transreceiver | 2.4GHz operation, 250kbps, 1Mbps and 2Mbps on air data rates Ultra low power operation 11.3mA TX at 0dBm output power | 10 |
| 94 | RFID Module | Operating Voltage4.6 V - 5.4 VDC Reading Distance6-10 cm Frequency125 kHz Compatible Card Codes Manchester64-bit, modules64 Current Rating35 mA (Max) OutputTTL | 25 |
| 95 | RFID Tag | Type : Passive RFID Type Of System : RFID Frequency : 125KHz | 25 |
| 96 | RF ID tag - card type | Type : Active RFID Frequency : 13.56 kHz Weight : 5.8 gm+/-0.5 gm Temperature : -10 and +50 Deg C | 25 |
| 97 | LoRa Gateway RG-01 | Ai-Thinker LoRa Gateway (RG-01) ,the gateway is used for ultra- long-distance spread spectrum communication. Built-in three RF chips SX1278 has a high sensitivity of -148dBm and a power output of + 20dBm, long transmission distance, and high reliability; | 1 |
| 98 | LoRaWAN Nodes RA-08 Development Board/built- in MCU/SMA Interface 470MHz Antenna | Ra-08 Ra-08H LoRaWAN RF Module Development Board 410- 525MHz 803-930MHz ASR6601 Chip with MCU/SMA Interface External Antenna. | 10 |
| 99 | Bi-Directional Logic Level Converter (5V to 3.3V) | Comes with 2 rows of 6 pin, unsoldered. | 10 |
| 100 | USB to RS485 | Load capacity: support multipoint, each converter allows RS485 interface device to connect 32 | 10 |
| 101 | USB to RS232 | The USB-232-2 is a bi-directional USB powered RS232 to USB converter which makes a full-duplex RS232 port available to a PC via the USB port | 10 |
| 102 | Module Ethernet Network Module for Arduino/ Any MCU | Fully Compatible with 10/100/1000Base-T Networks Integrated MAC and 10Base-T PHY Supports One 10Base-T Port with Automatic Polarity Detection and Correction Supports Full and Half-Duplex modes Programmable Automatic Retransmit on Collision Programmable Automatic Rejection of Erroneous Packets SPI Interface with Clock Speeds Up to 20 | 5 |
| 103 | Breadboard - 800 points | Solderless breadboard with 840 points Completely reusable and have a self-adhesive back | 25 |
| 104 | Breadboard - 400points | 400 tie points 2 Power lanes, Total 100 tie points in power lanes 1 Double strip, Total 300 | 10 |

|  |  | tie points |  |
| --- | --- | --- | --- |
| 105 | 9V battery & Clip | 9V battery and buckle. Wire Length: 15cm. | 25 |
| 106 | 3.7V 1000mAH (Lithium Polymer) Lipo Rechargeable Battery Model | Nominal voltage: 3.7V Charging voltage: 4.2V Nominal capacity: 500mAh Operating temperature: -10 to 50°C Discharging cut-off voltage:3.2V | 25 |
| 107 | 11.1v Lipo Battery | 11.1V , 5200mAH | 3 |
| 108 | 18650 liion battery | 2000mah Shape: Cylindrical Battery. Battery Type: Lithium-Ion Battery. | 10 |
| 109 | 2 Axis Joystick | Power: 0.01 W Interface: Dual 10 k-ohm potentiometers with common ground Dimensions: 1.64″ H x 1.40″ L x 1.10″ W (41.67 mm H x 35.56 mm L x 27.94 mm W) Operating temp range: +32 °F to +158 °F (0 °C to +70 °C) | 25 |
| 110 | RF Module set | Operating frequency – 434MHz 500ft range (given perfect conditions) 1.8 - 5.5V DC supply voltage Pin out is printed on module | 10 |
| 111 | F450 Full Drone SET with DJI Naza Controlller (Instead of Drone Integrated sensor Unit ) | With DJI controller Model Flame Wheel F450 Recommended Takeoff Weight 1.8 to 3.5 lb / 0.8 to 1.6 kg Recommended Propeller 10 x 3.8" / 25.4 x 9.7 cm; 8 x 4.5" / 20.3 x 11.4 cm Recommended Battery 3S or 4S LiPo Recommended Motor Stator Size: 0.9 x 0.6" / 22 x 15 mm or 0.9 x 0.5" / 22 x 12 mm Recommended ESC 15 A OPTO Diagonal Wheelbase 17.7" / 450 mm Weight 10 oz / 282 g | 1 |
| 112 | Play computer Starter kit | A integated development board which can be used to do visual and coding, with builtin 6 sensors and compatible cable with microbit interfaces, powered by ESP32 with both wifi and bluetooth. | 1 |
| 113 | Amplifier | Ahuja 250DP -Ahuja Amplifier 450W, with Pen drive | 1 |
| 114 | Wall Mounted Speakers | Ahuja WP-220M - 2 speakers - XRX 250 DX, wired mic 98XLR, wireless mic 4951 | 2 |

| 115 | Bluetooth Speakers | Carvaan Musicbar - Bluetooth Speakers Carvaan Musicbar with subwoofer - 120W total power output with Carvaan Signature Sound | 1 |
| --- | --- | --- | --- |
| 116 | Webcam | Logitech C920 -HD Pro Webcam - 1080p, Optical, Full HD Streaming Camera for Widescreen Video Calling and Recording, Dual Microphones, Autofocus, Compatible with PC - Desktop Computer or Laptop - Black | 3 |
| 117 | Professional Camera | Panasonic DMC-G85KGW or Better | 1 |
| 118 | TV | VU Premium 55” - Premium 4K TV,55UT (138cm),4K WebOS Smart TV | 1 |
| 119 | Slide changer | Logitech - Slide changer | 1 |
| 120 | Accessories | Coconut Mouse Pad –Rectangle : 14 No’s | 14 |
| 121 | Tool Wall covering Perforator |  | 1 |
| 122 | TTGO T - BEAM V1.2 | ESP32 microcontroller, integrated with a LoRa radio (SX1278/SX1276) for long-range communication, and a NEO-6M GPS module for location tracking | 5 |

| SAFETY |  |  |  |
| --- | --- | --- | --- |
| 123 | Safety Goggle | Safety Goggles Impact Resistance Lens Anti-fog Scratch Resistance UV Protection Glasses | 5 |
| 124 | Safety glove |  | 5 |
| 125 | Fire Extinguisher | ABC Type | 2 |
| 126 | Safety mask |  | 5 |
| 127 | First Aid Kit | Sterile Washproof Plasters, Triangular Bandages, Sterile Dressing with Pad, Disposable Gloves etc.., | 3 |
| FASTENING TOOLS |  |  |  |
| 128 | Socket set Stanley | Pack of 40 | 2 |
| 129 | Adjustable wrench (TAPARIA) | 12 inch | 2 |
| 130 | Allen Key (Metric) (INGO LONG) | 12 pieces | 3 |
| 131 | Allen Key (Imperial) (TAPARIA) | 12 pieces | 2 |
| 132 | Screw driver set (Philips Head) (TAPARIA) | 12 pieces | 2 |
| 133 | Screw driver set (Flat Head) (TAPARIA) | 8 pieces | 2 |

| 134 | Mini Screwdriver Set Stanley | 12 pieces | 2 |
| --- | --- | --- | --- |
| HAMMERS |  |  |  |
| 135 | Cross peen hammer Stanley | Head Weight: 450 g Total Weight: 0.73 kg | 1 |
| 136 | Claw hammer Stanley | Head Weight: 220 g Total Length: 10 cm Total Weight: 0.43 kg | 5 |
| 137 | Wooden Base Hammer Stanley | Wooden mallet | 1 |
| PILES AND CUTTER |  |  |  |
| 138 | Combination Plier Stanley | AWG - STRANDED SINGLE - 22/20-0.8mm | 3 |
| 139 | Nose Plier Stanley | 150MM LONG NOSE PLIER - MINIATURE with SERRATION | 3 |
| 140 | Round nose plier Stanley | Overall Length - 7 inch | 3 |
| 141 | Pincers Stanley | SKU - 2-84-183, 180mm | 1 |
| 142 | Electrical Crimping tool Stanley | Size: 0.5sqmm to 6sqmm Ergonomic Design Rubber Embedded Handles Less Hand Force needed to Crimp Tool Lasting up to 50000 Crimps Ultra Smooth full Ratcheting Cycle with in-built Safety Release Replaceable jaws Rugged Double Plated jaw ssembly | 1 |
| 143 | Forceps set Eagle | Straight extra long, Reversible tweezer bend, Reversible tweezer straight | 1 |
| 144 | Tweezer set Eagle | Straight pointed, Eagle beak , Straight Pointed sharp, straight Pointed heavy | 1 |
| SAWS |  |  |  |
| 145 | Hand saw Stanley | 250 mm | 1 |
| 146 | Hand saw Stanley | 500 mm | 1 |
| 147 | Hack saw frame Stanley | 12 Inch | 5 |
| 148 | Hack saw blade Stanley | 300 x 12.5 x 0.63 mm Pack of 10 | 3 |
| 149 | Junior Hack saw frame Stanley | 6 inch | 5 |

| 150 | Hack saw blade small HSS Stanley | 6 Inch 150mm Mini Hacksaw Blade Pack of 10 | 3 |
| --- | --- | --- | --- |
| 151 | Power Circular Saw |  | 2 |
| 152 | Open end spanner set Stanley | 6-32mm | 2 |
| MEASURING AND TESTING |  |  |  |
| 153 | Measuring tape STANLEY | 5m | 5 |
| 154 | Digital Screw Gauge amiciTools | 0.001 mm(least count) Electronic Micrometer 25 mm Screw Gauge Carbide Tipped Imperial/Metric System | 1 |
| 155 | Outside caliper Aerospace | 6 inch | 1 |
| 156 | Inside caliper Aerospace | 6 inch | 1 |
| 157 | Bevel Protractor Kristeel | Range: 0-360 Degree | 1 |
| 158 | Digital Distance Measurer Bosch | Laser diode 635 nm, < 1 mW Measurement range 0.15 – 40.00 m Weight, approx. 0.1 kg Measurement time, typical < 0.5 s Laser class 2, Measurement accuracy, typical ± 2.0 mm* (*plus use- dependent deviation) Measurement time, max. 4 s Power supply 2 x 1.5 V LR03 (AAA) Automatic deactivation 5 min Laser colour Red Measuring range, up to 40 m | 1 |
| 159 | Sheet Metal & Wire Gauges Kristeel | Type: Height Gauge Display Type: Analog | 1 |
| CHISEL |  |  |  |
| 160 | Chisel DEWALT | 10.16,18,25 and 40mm | 3 |
| CLAMPS |  |  |  |
| 161 | F-Clamp 300mm Stanley | 300mm | 1 |
| 162 | Corner clamps Taparia | 90 Degree Right Angle Clamp | 1 |
| HAND PLANNER |  |  |  |
| 163 | Wood trimming Plane Good year | Standard | 1 |
| 164 | Wood trimming Plane Good year | Small | 1 |
| FILES |  |  |  |
| 165 | Flat Taparia (JK) | 10 inch | 2 |
| 166 | Half round Taparia (JK) | 10 inch | 2 |

| 167 | Round Taparia (JK) | 10 inch | 2 |
| --- | --- | --- | --- |
| 168 | Needle files set Taparia (JK) | 10 inch | 2 |
| DRILL BITS |  |  |  |
| 169 | Wood Drill Makita (BOSCH) | 2 to 13 mm (1mm step) | 1 |
| 170 | Concrete bit Makita (BOSCH) | 6mm, 8mm, 10mm | 1 |
| 171 | High speed steel (HSS) Makita (BOSCH) | 1 to 13mm (0.5mm step) | 1 |
| 172 | Countersink bit Makita | 5mm,8mm,10mm,13mm | 1 |
| FASTENERS |  |  |  |
| 173 | Brass brushes | pack of 5 |  |
| 174 | Philip head screws | M2 to M6 | 100 each |
| 175 | Flat head screws | M2 to M12 | 100 each |
| 176 | Allen head screws | M2 to M12 | 100 each |
| 177 | Hexagon nut | M2 to M6 | 100 each |
| 178 | Square nut | M2 to M6 | 100 each |
| 179 | Hexagon Bolt, Nut and Dual Washer | M5 to M14 | 100 each |
| 180 | Hexagon Bolt, Nut and Dual Washer | ¼ inch to ½ inch | 100 each |
| 181 | Hexagonal bolt and nut (Self locking thread) | M5 to M14 | 100 each |
| 182 | Drywall screw | 3.5x19 mm to 4.2x55 mm (11 types) |  |
| 183 | Wood screw | 1/16 inch to 5/16 inch |  |
| 184 | Studs | 6mm, 8mm, Length 1m | 5 each |
| 185 | Nails | 1", 2", 3" | 100 each |
| MISCELLANIOUS |  |  |  |
| 186 | Scribers | Thickness: 2 to 5 mm Overall Length: 215-216 mm | 1 |
| 187 | Center Punches STANLEY | 8mm-5/16''x115mm-4/12'' | 1 |
| 188 | Tap and Die set Craftsman | M3 - M12 | 1 |
| 189 | Tap and Die set (Imperial unit) Craftsman | 1/8" - 1/2" | 1 |

| 190 | Glass cutter Stanley | 130mm | 1 |
| --- | --- | --- | --- |
| 191 | Bench Vise Apex | 4 inch | 5 |
| 192 | Baby Vice 60 mm | 60mm | 5 |
| 193 | Pipe vice |  | 2 |
| 194 | Bolt, nut, screw, washer, rivet storage boxes set | 40 Drawer Small Parts Storage Small Cabinet | 1 |
| 195 | Metal body lockable knife STANLEY | 18mm - Auto Lock mechanism | 2 |
| 196 | knife STANLEY | "Art Knife Perfect For Cutting , Carving, Etching. With 10 Extra Blades" 9 mm - Auto Lock mechanism 18 mm - Auto Lock mechanism | 2 |
| 197 | metal body heavy duty knife STANLEY | 9mm - Auto Lock mechanism | 2 |
| 198 | Thermoplastic, Styrofoam Cutter Proxxon | (44 x 11.5 x 33.5 cm) | 1 |
| 199 | Digital Weighing Table Top Scale |  | 1 |
| 200 | Industrial scissors STANLEY | Size : 10 Inch | 2 |
| 201 | Ring spanner set Stanley | 6-32mm | 2 |
| 202 | Box spanner set Stanley | 26 Tool set | 2 |
| 203 | Double ended spanner sets | 2 Sets | 2 |
| 204 | 12 Piece Open ended Spanner Set | 2 Sets | 2 |
| 205 | Safety Jacket full hand for protection under Metal cutting and Welding |  | 4 |
| 206 | Eye Protector for Welding |  | 2 |
| M-Consumables |  |  |  |
| 207 | 3D printer Filament | Depending on the printer | 2 rolls |
| 208 | Acrylic Sheets | 2mm,3mm, 4mm, 5mm All of area 8ft x 4ft | 2 sheets each |
| 209 | Foam Sheets | 8mm, 10mm, 12mm, 15mm All of area 8ft x 4 ft | 2 sheets each |
| 210 | Ply Boards | 8mm, 12 mm, 18mm,All of area 8ft x 4ft | 2 sheets each |

| 211 | Nylon Rods | 12mm, 15mm, 18mm, 25mm All of length 1 m | 5 each |
| --- | --- | --- | --- |
| 212 | Adhesives | M-Seal, Feviquich, Fevi Bond | 10 each |
| 213 | PVC Pipes | .75", 1", 1.5 ', 2.5", 3" Length 10ft | 1 each |
| 214 | Radium Cutter knives |  | 10 |
| 215 | Glue Stichs |  | 50 |

4. Electronic Active and Passive Components

| S. No. | Name of the Components | Qty |
| --- | --- | --- |
| 1 | IC ICL 8038 | 10 |
| 2 | IC LM 741 | 50 |
| 3 | IC NE 555 | 50 |
| 4 | IC CD 4016 | 50 |
| 5 | IC 7474 | 50 |
| 6 | IC 7486 | 50 |
| 7 | Transistor 2N 2222 Metal | 50 |
| 8 | Transistor BF 494 | 50 |
| 9 | Transistor BF 495 | 50 |
| 10 | Transistor BC 107 Metal | 50 |
| 11 | Polyester Capacitor 0.001 µF | 50 |
| 12 | Polyester Capacitor 0.01 mF | 50 |
| 13 | Polyester Capacitor 0.1 µF | 50 |
| 14 | Disc Capacitor 100 pF | 50 |
| 15 | Carbon Film Resistor 10 KW / 0.50W | 50 |
| 16 | Carbon Film Resistor 39 KW / 0.50W | 50 |
| 17 | Carbon Film Resistor 1.5 KW / 0.50W | 50 |
| 18 | Carbon Film Resistor 68 KW / 0.50W | 50 |
| 19 | Carbon Film Resistor 1.8 KW / 0.50W | 50 |
| 20 | Carbon Film Resistor 15 KW / 0.50W | 50 |
| 21 | Carbon Film Resistor 6.8 KW / 0.50W | 50 |
| 22 | Carbon Film Resistor 100 KW / 0.50W | 50 |
| 23 | Carbon Film Resistor 2.2 KW / 0.50W | 50 |
| 24 | Carbon Film Resistor 4.7 KW / 0.50W | 50 |
| 25 | Carbon Film Resistor 47 KW / 0.50W | 50 |
| 26 | Carbon Film Resistor 22 KW / 0.50W | 50 |
| 27 | Carbon Film Resistor 1 KW / 0.50W | 50 |

| 29 | Single Strand Wire 1/.22 : 100 Yards : Assorted Colours : D | 3 |
| --- | --- | --- |
| 31 | Soldering Lead 50 Gms | 3 |
| 32 | Soldering Flux 50 Gms : QUICKFIX | 2 |
| 37 | Scissors : Big | 1 |

Ref. No: SIET /AICTE  IDEA Lab / 2025-26 / 1	Annexure-1 Date: 10.09.2025

FORMAT FOR BID SUBMISSION

Note to Bidders: This format must be strictly followed. Technical and financial bids must be submitted in a sealed envelope.

- TECHNICAL BID FORMAT

Covering Letter (on bidder’s letterhead)

To: The Principal, Sri Shakthi Institute of Engineering and Technology, Coimbatore

Subject: Submission of Technical Bid for the supply of Equipment/tools/Machine

  - Bidder Information:

    - Company Name:

    - Registered Address:

    - Contact Person:

    - Email ID:

    - Mobile Number:

    - Legal Status: (Proprietorship / Partnership / Pvt Ltd / Public Ltd / Others)

    - PAN & GST Numbers (attach copies)

  - Eligibility Documents:

    - Certificate of Incorporation / Registration

    - GST Registration and PAN Copy

    - OEM Authorization Letter (if applicable)

    - Declaration of Non-Blacklisting (Annexure-3)

    - Experience Certificate (minimum 3 years)

    - Financial Turnover (last 3 years with CA certificate)

  - Technical Compliance Sheet:

    - Compliance with all technical specifications item-wise (Yes/No)

    - Supporting product datasheets, brochures, or technical manuals (to be attached Compulsorily)

  - Service & Warranty Details:

    - Minimum warranty offered: 3 years

    - After-sales support details.

    - Comprehensive onsite warranty for 3 years, including parts, labor, and service. Vendor must maintain local service center or authorized service partner within Tamil Nadu.

    - Service escalation matrix (compulsorily to be provided by the vendor)

Authorized Signatory:

Name:

Designation:

Signature with Seal:

Date:

- COMMERCIAL (FINANCIAL) BID FORMAT

Covering Letter (on bidder’s letterhead)

To: The Principal,  Sri Shakthi Institute of Engineering and Technology, Coimbatore

Subject: Submission of Commercial Bid for [Tender Name] Price Bid Format (to be filled as per below the template):

| S.No | Item Description | Qty | Unit Price (INR) | GST % | Total Price (INR) |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| ... |  |  |  |  |  |
|  | Grand Total (incl. taxes) |  |  |  | ₹ |

Note:

- All prices must be inclusive of delivery, installation, training, and three years warranty.

- Bids quoting NIL charges shall be treated as unresponsive and rejected as per GFR Rule 173(i).

- Kindly mention the Sponsorship amount that your firm would be able to contribute towards the establishment of the AICTE IDEA Lab

Authorized Signatory:

Name:

Designation: Signature with Seal: Date:

Ref. No: SIET / AICTE IDEA Lab / 2025-26 / 1	Annexure-2 Date: 10.09.2025

CHECKLIST

(To be printed on the bidder’s letterhead and signed by the authorized signatory)

| Sl. No. | Document Description | Attached (Yes/No) | Page No. / Reference |
| --- | --- | --- | --- |
| 1 | Annexure 1-Bid submission |  |  |
| 2 | Annexure 3-Declaration of Non- Blacklisting |  |  |
| 3 | Annexure 4- Declaration on Non- Chinese and/or non-Pakistan Origin of Equipment / Instruments / Machinery |  |  |
| 4 | Annexure 5- BID Security declaration |  |  |
| 5 | Covering Letter for Technical Bid |  |  |
| 6 | Certificate of Incorporation / Registration |  |  |
| 7 | PAN and GST Registration Copies |  |  |
| 8 | OEM Authorization Letter (if applicable) |  |  |
| 9 | Experience Certificates (3 years minimum) |  |  |
| 10 | Financial Turnover Statement (last 3 years, CA certified) |  |  |
| 13 | Product Brochures / Catalogues |  |  |
| 14 | Service Support Details & Escalation Matrix |  |  |

Declaration:

I hereby certify that the above documents have been enclosed in the Technical& Financial Bid Envelope and are true and correct to the best of my knowledge.

Authorized Signatory Name: Designation:

Signature with Seal Date:

Declaration of Non-Blacklisting

(To be submitted on the Rs 500/-stamp paper and signed by the authorized signatory)

I/We,	M/s		,	having	our	registered	office at

, do hereby declare that:

  - We have not been blacklisted or debarred by any Government Department, Public Sector Undertaking, Autonomous Body, or any other Government Agency in India or abroad.

  - We are not involved in any litigation that may impact or compromise the timely delivery, quality, or execution of services/goods as required under this tender.

  - We understand that any false declaration in this regard shall result in our disqualification and may lead to further legal action by the procuring entity.

  - All the information and documents submitted by us in the bid are true and correct to the best of our knowledge and belief.

Authorized Signatory:

Name: Designation: Company Seal: Date:

Declaration on Non-Chinese and/or non-Pakistan Origin of Equipment / Instruments / Machinery

(To be submitted on the bidder’s letterhead and signed by the authorized signatory)

I/We,	M/s		,	having	our	registered	office at

, do hereby declare that:

- All equipment, machinery, instruments, or components proposed to be supplied under this tender are not manufactured in the People's Republic of China and/or Pakistan, nor are they of Chinese/Pakistan origin or assembled using parts sourced from Chinese/Pakistan manufacturers.

- We fully comply with the Government of India’s guidelines, orders, and circulars regarding the procurement of goods from countries sharing a land border with India, particularly those related to restrictions on Chinese origin equipment as per:

  - Ministry of Finance, Department of Expenditure, Public Procurement Division, Order No. F.No.6/18/2019-PPD dated 23rd July 2020, and related amendments.

- We understand that non-compliance with this declaration shall render our bid

liable for rejection, and may also invite penal action including blacklisting.

- We undertake that, if at any stage the above declaration is found to be false, Sri Shakthi Institute of Engineering and Technology, shall be at liberty to terminate the contract and forfeit our security deposit/performance guarantee without notice.

Authorized Signatory:

Name: Designation: Company Seal: Date:

BID Security Declaration

I/We understand that, as per tender conditions, bids must be supported by a Bid Security Declaration.

I/We accept that I/We may be disqualified from bidding for any contract with Sri Shakthi Institute of Engineering and Technology for a period of one year if I am / we are in breach of any obligation under the bid conditions, including:

- Withdrawal/modification of bid during the period of bid validity.

- Failing to sign the contract after award of bid.

Sign:

Name:

Designation: Official Seal: Date: